## Sheet1
Document Name: | TC_DOC_QTUI
Revision: | A
Module: | Login
Priority: | High
Test Case ID | Test Case | Pre-Condition | Test Steps | Expected Results | Post-Condition | Actual Result | Status
TC_LOGIN_001 | Enter valid username and password |  | 1. Enter "marco" as username 2. Enter "password" as password 3. Press Login button | User is redirected to dashboard page |  | User redirected to dashboard page | Pass
TC_LOGIN_002 | Enter invalid username and invalid password |  | 1. Enter "test" as username 2. Enter "" as password 3. Press Login button | Small validation error indicating incorrect username or password |  | No validation message shown, user is not redirected to login | Fail
TC_LOGIN_003 | Enter valid username and invalid password |  | 1. Enter "marco" as username 2. Enter "" as password 3. Press Login button | Small validation error indicating incorrect username or password |  | No validation message shown, user is not redirected to login | Fail
Module: | New Exam
Priority: | High
Test Case ID | Test Case | Pre-Condition | Test Steps | Expected Results | Post-Condition | Actual Result | Status
TC_NEWEXAM_001 | Add a new exam with all valid information |  | 1. Navigate to Exam Tab in Dashboard 2. Press New Exam button in the current exam section 3. Fill out all other fields with valid input | 1. The exam that was created is dispayed in the current exam section with uneditable fields 2. The exam is displayed in the exam table, in the Exam Manager Tab |  | Exam displayed in current exam section and is available in the exam table | Pass
TC_NEWEXAM_002 | Add a new exam with an blank last name |  | 1. Navigate to Exam Tab in Dashboard 2. Press New Exam button in the current exam section 3. Leave Last Name field blank 4. Fill out all other fields with valid input | Save button in the New Exam modal disabled, red validation text should show stating that field is required |  | Save button in the New Exam modal disabled, red validation text shown stating that field is required | Pass
TC_NEWEXAM_003 | Input max characters on Last Name input |  | 1. Navigate to Exam Tab in Dashboard 2. Press New Exam button in the current exam section 3. Attempt to type Last Name with more than 40 characters 4. Fill out all fields with valid input 5. Press Save button | Input field will not go past 40 characters in length |  | Input field does not go past 40 characters in length | Pass
TC_NEWEXAM_004 | Add a new exam with an blank Patient ID |  | 1. Navigate to Exam Tab in Dashboard 2. Press New Exam button in the current exam section 3. Leave Patient ID blank 4. Fill out all other fields with valid input 5. Press Save button | Save button in the New Exam modal disabled, red validation text should show stating that field is required |  | Save button in the New Exam modal disabled, red validation text shown stating that field is required | Pass
TC_NEWEXAM_005 | Input max characters on First Name input |  | 1. Navigate to Exam Tab in Dashboard 2. Press New Exam button in the current exam section 3. Attempt to type First Name with more than 30 characters | Input field will not go past 30 characters in length |  | Input field does not go past 30 characters in length | Pass
TC_NEWEXAM_005 | Input max characters on Middle Name input |  | 1. Navigate to Exam Tab in Dashboard 2. Press New Exam button in the current exam section 3. Attempt to type Middle Name with more than 30 characters | Input field will not go past 30 characters in length |  | Input field does not go past 30 characters in length | Pass
TC_NEWEXAM_006 | Input max characters on Operator's Name input |  | 1. Navigate to Exam Tab in Dashboard 2. Press New Exam button in the current exam section 3. Attempt to type Operator's Name with more than 30 characters | Input field will not go past 30 characters in length |  | Input field does not go past 30 characters in length | Pass
TC_NEWEXAM_007 | Phantom Scan selection allows for Quality Control selection |  | 1. Navigate to Exam Tab in Dashboard 2. Press New Exam button in the current exam section 3. Select Phantom radio button | Quality Control field is enabled |  | Quality Control field is enabled | Pass
TC_NEWEXAM_008 | Switch from Phantom Scan to Patient Scan disables Quality Control Selection |  | 1. Navigate to Exam Tab in Dashboard 2. Press New Exam button in the current exam section 3. Select Phantom radio button 4. Select Quality Control radio button 5. Select Patient radio button | Quality Control field is disabled and unselected when the user selects the patient radio button |  | Quality Control field is disabled and unselected when the user selects the patient radio button | Pass
TC_NEWEXAM_009 | Maximum height restriction |  | 1. Navigate to Exam Tab in Dashboard 2. Press New Exam button in the current exam section 3. Attempt to enter Patient Height higher than 2.45m 4. Fill out all fields with valid input | Patient Height field is automatically changed to 2.45m when user types over the max |  | Patient Height field is automatically changed to 2.45 when user types over the max | Pass
TC_NEWEXAM_010 | Maximum weight restriction |  | 1. Navigate to Exam Tab in Dashboard 2. Press New Exam button in the current exam section 3. Attempt to enter Patient weight higher than 200kg 4. Fill out all fields with valid input | Patient Weight field is automatically changed to 200kg |  | Patient Weight field is automatically changed to 200kg | Pass
TC_NEWEXAM_011 | Selecting Implant Processing enables implant type radio buttons |  | 1. Navigate to Exam Tab in Dashboard 2. Press New Exam button in the current exam section 3. Select the Implant Processing checkbox | Silicone and Saline radio buttons are enabled |  | Silicone and Saline radio buttons are enabled | Pass
TC_NEWEXAM_012 | Deselecting Implant Processing disables and deselects Implant Type radio buttons |  | 1. Navigate to Exam Tab in Dashboard 2. Press New Exam button in the current exam section 3. Select the Implant Processing checkbox 4. Select saline or silicone radio buttons 5. Deselect Implant Processing checkbox | Silicone and saline buttons are deselected and disabled |  | Silicone and saline buttons are deselected and disabled | Pass
TC_NEWEXAM_013 | Cancel New Exam creation |  | 1. Navigate to Exam Tab in Dashboard 2. Press New Exam button in the current exam section 3. Enter in some information in fields. 4. Press Cancel button | Modal closes, no information is shown in the current exam section |  | Modal closes, no information is shown in the current exam section | Pass
Module: | Edit Exam
Priority: | High
Test Case ID | Test Case | Pre-Condition | Test Steps | Expected Results | Post-Condition | Actual Result | Status
TC_EDITEXAM_001 | Unable to edit blank exam |  | 1. Navigate to the Exam Tab 2. Validate that Current Exam section is empty | Edit Exam button is disabled |  | Edit Exam button is NOT disabled | Pass
TC_EDITEXAM_002 | Current Exam is editabled |  | 1. Navigate to the Exam Tab 2. Validate that Current Exam is a valid exam 3. Click Edit Exam button | All fields in Edit Exam Modal consistent with exam fields in Current Exam section |  | All fields in Edit Exam Modal consistent with exam fields in Current Exam section | Pass
TC_EDITEXAM_003 | Cancelling Edit Exam leaves Current Exam section unchanged |  | 1. Navigate to the Exam Tab 2. Validate that Current Exam is a valid exam 3. Click Edit Exam button 4. Click Cancel button in Edit Exam modal | Modal closes, no changes made to Current Exam fields |  | Modal closes, Current Exam fields blank | Pass
TC_EDITEXAM_004 | Edit exam with all valid information |  | 1. Navigate to Exam Tab in Dashboard 2. Validate that Current Exam is a valid exam 3. Click Edit Exam button 4. Modify all fields with valid input | 1. The exam that was modified is dispayed in the current exam section with uneditable fields 2. The modified exam is displayed in the exam table, in the Exam Manager Tab |  | Modified exam displayed in current exam section and is available in the exam table | Pass
TC_EDITEXAM_005 | Modify exam with a blank last name |  | 1. Navigate to the Exam Tab 2. Validate that Current Exam is a valid exam 3. Click Edit Exam button 4. Change Last Name field to blank 5. Fill out all other fields with valid input | Save button in the Edit Exam modal disabled, red validation text should show stating that field is required |  | Save button in the Edit Exam modal disabled, red validation text shown stating that field is required | Pass
TC_EDITEXAM_006 | Input max characters on Last Name input |  | 1. Navigate to the Exam Tab 2. Validate that Current Exam is a valid exam 3. Click Edit Exam button 4. Attempt to type Last Name with more than 40 characters 5. Fill out all fields with valid input 6. Press Save button | Input field will not go past 40 characters in length |  | Input field does not go past 40 characters in length | Pass
TC_EDITEXAM_007 | Add a new exam with an blank Patient ID |  | 1. Navigate to the Exam Tab 2. Validate that Current Exam is a valid exam 3. Click Edit Exam button 4. Change Patient ID to blank 5. Fill out all other fields with valid input 6. Press Save button | Save button in the Edit Exam modal disabled, red validation text should show stating that field is required |  | Save button in the Edit Exam modal disabled, red validation text shown stating that field is required | Pass
TC_EDITEXAM_008 | Input max characters on First Name input |  | 1. Navigate to the Exam Tab 2. Validate that Current Exam is a valid exam 3. Click Edit Exam button 4. Attempt to type First Name with more than 30 characters | Input field will not go past 30 characters in length |  | Input field does not go past 30 characters in length | Pass
TC_EDITEXAM_009 | Input max characters on Middle Name input |  | 1. Navigate to the Exam Tab 2. Validate that Current Exam is a valid exam 3. Click Edit Exam button 4. Attempt to type Middle Name with more than 30 characters | Input field will not go past 30 characters in length |  | Input field does not go past 30 characters in length | Pass
TC_EDITEXAM_010 | Input max characters on Operator's Name input |  | 1. Navigate to the Exam Tab 2. Validate that Current Exam is a valid exam 3. Click Edit Exam button 4. Attempt to type Operator's Name with more than 30 characters | Input field will not go past 30 characters in length |  | Input field does not go past 30 characters in length | Pass
TC_EDITEXAM_011 | Phantom Scan selection allows for Quality Control selection |  | 1. Navigate to the Exam Tab 2. Validate that Current Exam is a valid exam 3. Click Edit Exam button 4. Select Phantom radio button | Quality Control field is enabled |  | Quality Control field is enabled | Pass
TC_EDITEXAM_012 | Switch from Phantom Scan to Patient Scan disables Quality Control Selection |  | 1. Navigate to the Exam Tab 2. Validate that Current Exam is a valid exam 3. Click Edit Exam button 4. Select Phantom radio button 5. Select Quality Control radio button 6. Select Patient radio button | Quality Control field is disabled and unselected when the user selects the patient radio button |  | Quality Control field is disabled and unselected when the user selects the patient radio button | Pass
TC_EDITEXAM_013 | Maximum height restriction |  | 1. Navigate to Exam Tab in Dashboard 2. Press New Exam button in the current exam section 3. Attempt to enter Patient Height higher than 2.45m 4. Fill out all fields with valid input | Patient Height field is automatically changed to 2.45m when user types over the max |  | Patient Height field is automatically changed to 2.45 when user types over the max | Pass
TC_EDITEXAM_014 | Maximum weight restriction |  | 1. Navigate to the Exam Tab 2. Validate that Current Exam is a valid exam 3. Click Edit Exam button 4. Attempt to enter Patient weight higher than 200kg 5. Fill out all fields with valid input | Patient Weight field is automatically changed to 200kg |  | Patient Weight field is automatically changed to 200kg | Pass
TC_EDITEXAM_015 | Selecting Implant Processing enables implant type radio buttons |  | 1. Navigate to the Exam Tab 2. Validate that Current Exam is a valid exam 3. Click Edit Exam button 4. Select the Implant Processing checkbox | Silicone and Saline radio buttons are enabled |  | Silicone and Saline radio buttons are enabled | Pass
TC_EDITEXAM_016 | Deselecting Implant Processing disables and deselects Implant Type radio buttons |  | 1. Navigate to Exam Tab in Dashboard 2. Press New Exam button in the current exam section 3. Select the Implant Processing checkbox 4. Select saline or silicone radio buttons 5. Deselect Implant Processing checkbox | Silicone and saline buttons are deselected and disabled |  | Silicone and saline buttons are deselected and disabled | Pass
Module: | Start Scan
Priority: | High
Test Case ID | Test Case | Pre-Condition | Test Steps | Expected Results | Post-Condition | Actual Result | Status
TC_STARTSCAN_001 | Start Scan button in Exam Tab is disabled when tank is not ready for scan |  | 1. Navigate to System Tab 2. Ensure that both tank statuses show "Not Ready" 3. Navigate back to exam tab 4. Hover over Start Scan button | Start Scan button is grayed out, when hovered over, displays "tank not ready" message |  | Start Scan button is grayed out with overlay displaying "tank not ready" | Pass
TC_STARTSCAN_002 | Start Scan button in Exam Tab is disabled when patient information is not invalid |  | 1. Navigate back to exam tab 2. Validate that Current Exam is left blank or is missing required fields 4. Hover over Start Scan button | Start Scan button is grayed out, when hovered over, displays "exam info invalid" message |  | Start Scan button is grayed out with overlay displaying "exam info invalid" | Pass
TC_STARTSCAN_003 | Scan is able to start with valid patient information and ready tanks |  | 1. Navigate to System Tab 2. Ensure that both tank statuses show "Ready" 3. Navigate back to exam tab 4. Hover over Start Scan button | Start Scan button is enabled |  | Start Scan button is enabled | Pass
TC_STARTSCAN_004 | Scan In Progress overlay is shown when a scan is started |  | 1. Navigate to System Tab 2. Ensure that both tank statuses show "Ready" 3. Navigate back to exam tab 4. Press Start Scan button | Overlay displays over the top of the Current Exam div, showing scan progress, time remaining, and cancel option |  | Not sure if this works, don't currently have backend configured to handle scan request. | Fail
Module: | Modality Worklist
Priority: | High
Test Case ID | Test Case | Pre-Condition | Test Steps | Expected Results | Post-Condition | Actual Result | Status
TC_WORKLIST_001 | Worklist is refreshed when Refresh button is pressed |  | 1. Navigate to Worklist tab. 2. Press Refresh button | Modality worklist will show new worklist if worklist was updated |  | Modality worklist shows same worklist when Refresh is pressed | Pass
TC_WORKLIST_002 | Select button disabled when more than one worklist exam is selected |  | 1. Navigate to Worklist tab 2. Click on two rows in the table | Select button is disabled |  | Select button is disabled | Pass
TC_WORKLIST_003 | Edit Exam modal opens on Select button press |  | 1. Navigate to Exam tab 2. Select one exam row 3. Press Select button | Edit Exam modal opens |  | Edit Exam modal opens | Pass
TC_WORKLIST_004 | Correct Exam info shown on exam selection |  | 1. Navigate to Worklist tab 2. Select one exam from worklist table 3. Press Select button 4. Verify correct patient information | Edit Exam modal opens with correct exam information in fields |  | Edit Exam modal opens with correct exam information in fields | Pass
TC_WORKLIST_005 | Certain fields in Edit Exam modal are editable, all others are read-only |  | 1. Navigate to Worklist tab 2. Select one exam from worklist table 3. Press Select button | Operator Name, Breast Laterality, and Implant Processing are the only editable fields |  | Operator Name, Breast Laterality, and Implant Processing are the only editable fields | Pass
TC_WORKLIST_006 | Saved exam populates Current Exam seciton |  | 1. Navigate to Worklist tab 2. Select one exam from worklist table 3. Press Select button 4. Verify valid form fields 5. Press Save button 6. Navigate to Exam tab | Current Exam section is populated with patient info from the worklist |  | Current Exam section is populated with patient info from the worklist | Pass
TC_WORKLIST_007 | Cancelling exam selection does not add to Current Exam section |  | 1. Navigate to Worklist tab 2. Select one exam from worklist table 3. Press Select button 4. Press Cancel button within Edit exam modal | Exam not sent to Current Exam section |  | Exam not sent to Current Exam section | Pass
Module: | Tank Control
Priority: | High
Test Case ID | Test Case | Pre-Condition | Test Steps | Expected Results | Post-Condition | Actual Result | Status
TC_TANKCONTROL_001 | Accurate Input Tank Information is displayed |  | 1. Navigate to System Tab 2. Check Input Tank measurements for Temp, Degas, and Water Level 3. From the Service Node, type 'mctool status' to display tank information | Correct information is displayed for Input Tank in Tank Tab within the Dashboard's System Tab |  | Correct information is displayed in Tank Tab within the Dashboard's System Tab | Pass
TC_TANKCONTROL_002 | Accurate Scan Tank Information is displayed |  | 1. Navigate to System Tab 2. Check Scan Tank measurements for Temp and Water Level 3. From the Service Node, type 'mctool status' to display tank information | Correct information is displayed for Scan Tank in Tank Tab within the Dashboard's System Tab |  | Correct information is displayed for Scan Tank in Tank Tab within the Dashboard's System Tab | Pass
TC_TANKCONTROL_003 | Input Tank displays correct Ready status if tank requirements met. | 1. Degas level 100% 2. Temp level between 28°C and 34°C 3. Water level 100% | 1. Navigate to System Tab 2. Locate Input Tank div within the Tank Tab | "Tank Status: Ready" is displayed in green text |  | "Tank Status: Ready" is displayed in green text | Pass
TC_TANKCONTROL_004 | Input Tank displays correct Not Ready status if tank requirements are not met. | 1. Degas level below 100% 2. Temp level outside range of 28°C and 34°C 3. Water level below 100% | 1. Navigate to System Tab 2. Locate Input Tank div within the Tank Tab | "Tank Status: Not Ready" is displayed in orange text |  | "Tank Status: Not Ready" is displayed in orange text | Pass
TC_TANKCONTROL_005 | Scan Tank displays correct Ready status if tank requirements met. | 1. Temp level between 28°C and 34°C 2. Water level 100% | 1. Navigate to System Tab 2. Locate Scan Tank div within the Tank Tab | "Tank Status: Ready" is displayed in green text |  | "Tank Status: Ready" is displayed in green text | Pass
TC_TANKCONTROL_006 | Scan Tank displays correct Not Ready status if tank requirements are not met. | 1. Temp level outside range of 28°C and 34°C 2. Water level below 100% | 1. Navigate to System Tab 2. Locate Scan Tank div within the Tank Tab | "Tank Status: Not Ready" is displayed in orange text |  | "Tank Status: Not Ready" is displayed in orange text | Pass
TC_TANKCONTROL_007 | Tank Fill button is disabled when Scan Tank water level is at 100% | 1. Scan Tank water level 100% | 1. Navigate to System Tab 2. Locate Scan Tank div within the Tank Tab 3. Validate water level is 100% | Fill button is disabled |  | Fill button is disabled | Pass
TC_TANKCONTROL_008 | Tank Fill and Empty button is disabled when Scan Tank fill in progress | 1. Scan Tank water level below 100% | 1. Navigate to System Tab 2. Locate Scan Tank div within the Tank Tab 3. Press the fill button | Fill and Empty buttons are disabled |  | Fill and Empty buttons are disabled | Pass
TC_TANKCONTROL_009 | Tank Empty button is disabled when Scan Tank water level is at 0% | 1. Scan Tank water level 0% | 1. Navigate to System Tab 2. Locate Scan Tank div within the Tank Tab 3. Validate water level is 100% | Empty button is disabled |  | Empty button is disabled | Pass
TC_TANKCONTROL_010 | Tank Fill and Empty buttons are disabled when Scan Tank empty in progress | 1. Scan Tank water above 0% | 1. Navigate to System Tab 2. Locate Scan Tank div within the Tank Tab 3. Press the empty button | Fill and Empty buttons are disabled |  | Fill and Empty buttons are disabled | Pass
TC_TANKCONTROL_011 | Tank Cancel button is disabled when tank is idle | 1. Scan Tank status is idle | 1. Navigate to System Tab 2. Locate Scan Tank div within the Tank Tab 3. Validate Scan Tank status is idle | Cancel button is disabled |  | Cancel button is disabled | Pass
TC_TANKCONTROL_012 | Tank Cancel button is enabled when tank is filling or emptying | 1. Scan Tank status is filling/emptying | 1. Navigate to System Tab 2. Locate Scan Tank div within the Tank Tab 3. Validate Scan Tank status is filling/emptying | Cancel button is enabled |  | Cancel button is enabled | Pass
TC_TANKCONTROL_013 | Tank empties when Empty button is pressed |  | 1. Navigate to System Tab 2. Locate Scan Tank div within the Tank Tab 3. Press Empty button | Tank empties to 0% |  | Tank empties to 0% | Pass
TC_TANKCONTROL_014 | Tank fills when Fill button is pressed |  | 1. Navigate to System Tab 2. Locate Scan Tank div within the Tank Tab 3. Press Fill button | Tank fills to 100% |  | Tank fills to 100% | Pass
TC_TANKCONTROL_015 | Tank cancels Fill when Cancel button is pressed | 1. Scan Tank water level below 100% | 1. Navigate to System Tab 2. Locate Scan Tank div within the Tank Tab 3. Press Fill button 4. Mid-fill, press the Cancel button | Tank stops filling immediately after Cancel is pressed |  | Tank stops filling immediately after Cancel is pressed | Pass
TC_TANKCONTROL_016 | Tank cancels emptying when Cancel button is pressed | 1. Scan Tank water level above 100% | 1. Navigate to System Tab 2. Locate Scan Tank div within the Tank Tab 3. Press Empty button 4. Mid-empty, press the Cancel button | Tank stops emptying immediately after Cancel is pressed |  | Tank stops emptying immediately after Cancel is pressed | Pass
Module: | Exam Management
Priority: | High
Test Case ID | Test Case | Pre-Condition | Test Steps | Expected Results | Post-Condition | Actual Result | Status
TC_EXAMMANAGEMENT_001 | Process button Disabled for Failed Scans | 1. At least one exam has failed scan | 1. Navigate to Exam Manager tab 2. Click table row for exam that failed scan process | Process button disabled |  | Process button disabled | Pass
TC_EXAMMANAGEMENT_002 | Process button disabled if at least one of multiple exams failed scan | 1. At least one exam has failed scan | 1. Navigate to Exam Manager tab 2. Click table row for exam that passed scan process 3. Click table row for exam that failed scan process | Process button disabled |  | Process button disabled | Pass
TC_EXAMMANAGEMENT_003 | Confirmation prompt displays if processing has already been done on exam that is selected again for processing | 1. Processing has been done on at least one exam | 1. Navigate to Exam Manager tab 2. Click table row for exam that was already processed 3. Click Process button | Confirmation prompt displays asking user if they want to process again |  | Confirmation prompt displays asking user if they want to process again | Pass
TC_EXAMMANAGEMENT_004 | Cancel button is disabled when exam that is not undergoing any processes is selected | 1.At least one exam is not undergoing any processes | 1. Navigate to Exam Manager tab 2. Click table row for exam that is not being Processed, Reprocessed, Archived, or Stored | Cancel button is disabled |  | Cancel button is disabled | Pass
TC_EXAMMANAGEMENT_005 | Cancel button is disabled when multiple exams are selected, with one not undergoing processes | 1.At least one exam is not undergoing any processes | 1. Navigate to Exam Manager tab 2. Click table row for exam that is undergoing Processing, Reprocessing, Archiving, or Storing 3. Click table row for exam that is not being Processed, Reprocessed, Archived, or Stored | Cancel button is disabled |  | Cancel button is disabled | Pass
TC_EXAMMANAGEMENT_006 | Cancel button stops a process that is active | 1. At least one exam that is undergoing a process | 1. Navigate to Exam Manager tab 2. Click table row for exam that is undergoing Processing, Reprocessing, Archiving, or Storing 3. Click Cancel button | Status should change from "in progress" to "pending" |  | Status should change from "in progress" to "pending" | Pass
TC_EXAMMANAGEMENT_007 | Edit button disabled when multiple exams selected |  | 1. Navigate to Exam Manager tab 2. Click multiple table rows for exam s | Edit button disabled |  | Edit button disabled | Pass
TC_EXAMMANAGEMENT_008 | Edit Exam modal displays when Edit button is pressed |  | 1. Navigate to Exam Manager tab 2. Click table row for an exam 3. Press Edit button | Edit exam modal displays with valid information |  | Edit exam modal displays with valid exam information | Pass
TC_EXAMMANAGEMENT_009 | Delete button successfully deletes an exam |  | 1. Navigate to Exam Manager tab 2. Click table row for an exam 3. Press Delete button 4. Select OK when confirmation prompt appears | Exam is not displayed in Exam Manager after being successfully deleted |  | Exam is not deleted | Fail
TC_EXAMMANAGEMENT_010 | Confirmation prompt displays if exam selected for deletion |  | 1. Navigate to Exam Manager tab 2. Click multiple table row for an exam 3. Press Delete button | Confirmation prompt displays asking user if they want to delete the exam. |  | Confirmation prompt does not appear | Fail
TC_EXAMMANAGEMENT_011 | Confirmation prompt displays if multiple exams are set for deletion |  | 1. Navigate to Exam Manager tab 2. Click multiple table rows for exams 3. Press Delete button | Confirmation prompt displays asking user if they want to delete the exam. Once for each exam. |  | Confirmation prompt displays asking user if they want to delete the exam. Once for each exam. | Pass